ABC Auto Salvage

300 Park Street

Autotown, MI 48888

STORM WATER POLLUTION PREVENTION PLAN

May 1, 2019

TABLE OF CONTENTS

- General Facility Information

- Storm Water Pollution Prevention Team

- Site Map

- Significant Materials

  - Inventory of Exposed Significant Materials

  - Description of Industrial Activities & Significant Material Storage Areas

  - List of Significant Spills

  - Summary of Sampling Data

  - Actions Taken to Investigate Illicit Connections

- Non-Structural Controls

  - Auto Recycler Best Management Practices

  - Preventative Maintenance Program

5.3	Housekeeping Procedures

5.4	Comprehensive Site Inspection & Visual Assessments of Storm Water Discharges

5.5	Material Handling & Spill Prevention / Clean-Up Procedures

5.6	Soil Erosion & Sedimentation Control Measures

5.7	Employee Training Program

5.8	TMDL Requirements

5.9	List of Significant Materials Still Present

- Structural Controls

- Non-Storm Water Discharges

- Annual Review

- Industrial Storm Water Certified Operator Update

- Record Keeping

- SWPPP Certification

- Table 1 – Significant Material Inventory & Description of Industrial Activity

- Visual Assessment of Storm Water Discharges Procedures

- Table 2 – Spill Kit Inventory and Spill Response Plan

- Employee Training Form

- Annual SWPPP Review Report Form

- DEQ Spill or Release Report

- Inspection Forms

- GENERAL FACILITY INFORMATION

Facility Information:

- Name of Facility:  ABC Auto Salvage

- Facility Address:  300 Park Street, Autotown, MI 48888

- County:  Oakland

- Standard Industrial Classification (SIC) Code:  5015

- Owner or Authorized Representative:  Tom Larson

Facility Contact Information:

- Name:  Tom Larson

- Title:  Owner

- Telephone:  248-946-1234

- Email Address:  abcauto@yahoo.com

- Mailing Address:  300 Park Street, Autotown, MI 48888

Certified Storm Water Operator Information:

- Name:  Tom Larson	I-16234	7/1/2023

- Telephone:  248-946-1234

- Is the Certified Operator an employee at the facility:  X Yes     No

Permit Information:

- General Permit Number:  MIS220000

- Certificate of Coverage (COC) Number: MIS224466

- COC Date of Coverage:  9/01/2018

- Receiving Water:  Wild River

- Identify the Total Daily Maximum Load (TMDL) listed on COC: Sediment, total phosphorus

Industrial Activity Description:  ABC Auto Salvage is a 15-acre auto recycling facility located in Autotown, Michigan. Except for building rooftops and a concrete pads used for gasoline and diesel fuel storage and the crushing operation, the entire facility is covered with gravel or crushed asphalt. There are three buildings: office, dismantling building, and warehouse.

Salvage vehicles are purchased, processed, and dismantled. Used parts are sold.  When ready for processing, incoming vehicles are inventoried, processed, and dismantled. During processing, the battery, mercury switches, refrigerant, and fluids are removed and stored. Vehicles are processed and dismantled in the dismantling building with excellent housekeeping and spill control practices. Parts to be sold, including motors and transmissions, are stored in the warehouse. Certain parts are stored outside –most on racks. Parts stored outside include wheels, tires, body parts, rear axles, and truck boxes. After being processed and dismantled, the vehicles are placed in the vehicle storage area. Some minor additional dismantling occurs in the vehicle storage area. Once all usable parts are removed and sold, the vehicle bodies are crushed on a concrete pad and transported to a scrap recycling facility. Trash and debris are stored in a covered dumpster. Facility equipment includes three loaders, two forklifts, one skid steer, one crusher, and one car hauler.

Used oil is stored inside the dismantling building in two 300-gallon plastic totes. Used antifreeze is stored inside the dismantling building in plastic drums. Gasoline (500-g steel tank) and diesel fuel (1,000-g steel tank) are each stored outside within a concrete secondary containment structure. All fluid storage containers are properly capped and labeled. Spill kits are provided to respond to leaks and spills. Scrap batteries are labeled and stored on pallets in the dismantling building.

Storm water runoff is discharged at three Benchmark Monitoring Locations (BMLs). BML-1 is surface runoff from the driveway onto Park Street at the northwest corner of the facility. BML-2 is the outlet from a small retention pond in the southeast corner of the facility. BML-3 is runoff from vehicle storage near the southwest corner in a grassed swale.

Storm water is conveyed to the Wild River, which lies about ¼ mile south of the facility. The Wild River is a 303(d) impaired waterway, and TMDLs have been identified for sediment and phosphorus.

- STORM WATER POLLUTION PREVENTION TEAM

The storm water pollution prevention team is responsible for developing, implementing, maintaining, and revising this SWPPP.  The members of the team and their primary responsibilities (i.e. implementing, maintaining, record keeping, submitting reports, conducting inspections, employee training, conducting the annual compliance evaluation, testing for non-storm water discharges, signing the required certifications) are as follows:

| Name & Title | Responsibility |
| --- | --- |
| Tom Larson Owner | Owner, permit compliance, Certified Storm Water Operator, SWPPP, BMPs, inspections, storm water visual observations, annual compliance review |
| John Wilson Manager | Facility operations, SWPPP, BMPs, employee training |
| Jill Larson Office Manager | Record keeping, MiWaters submittals, Annual SWPPP Review |

- SITE MAP

The facility’s site map includes all applicable items listed in the permit, which include:

- Buildings and other permanent structures (office, dismantling building, warehouse, concrete crushing pad)

- Storage or disposal areas for significant materials (vehicles, parts, racks)

- Secondary containment structures and descriptions of what they contain in the primary containment structures (diesel fuel, gasoline)

- Storm water discharge points (which include outfalls and points of discharge), numbered or otherwise labeled for reference (BML-1, BML-2, and BML-3)

- Location of storm water and non-storm water inlets (numbered or otherwise labeled for reference) contributing to each discharge point (no catch basins or inlets, one retention pond)

- Location of NPDES permitted discharges other than storm water (none)

- Outlines of the drainage areas contributing to each discharge point (drainage area and flow arrows for BML-1, BML-2, and BML-3)

- Structural runoff controls or storm water treatment facilities (buildings, fence, concrete crushing pad, secondary containment for gasoline and diesel fuel, parts racks, core container, covered trash dumpster, retention pond)

- Areas of vegetation (with brief description such as lawn, old field, marsh, wooded, etc.) (minimal vegetation along facility boundary)

- Areas of exposed and/or erodible soils and gravel lots (roadways and vehicle storage area)

- Impervious surfaces (roofs, asphalt, concrete, etc.) (building rooftops and concrete crushing pad)

- Name and location of receiving waters (Wild River)

- Areas of known or suspected impacts on surface waters as designated under Par 201 (Environmental Response) of the NREPA. (none)

SEE ABC AUTO SALVAGE SITE MAP

- SIGNIFICANT MATERIALS

4.1	Inventory of Exposed Significant Materials

The permit requires a general inventory of significant materials that could enter storm water.  For each material listed the SWPPP shall include the ways in which each type of material has been or has reasonable potential to become exposed to storm water (e.g. spillage during handling; leaks from pipes, pumps, or vessels; contact with storage piles, contaminated materials or soils; waste handling and disposal; deposits from dust or overspray; etc.).  In addition, the SWPPP must identify the inlet(s) spilled significant materials may enter and the discharge point(s) through which the spilled significant material may be discharged.

SEE SECTION 12.0, TABLE 1, SIGNIFICANT MATERIAL INVENTORY

4.2	Description of Industrial Activities & Significant Material Storage Areas

The permit requires industrial facilities to evaluate the reasonable potential for contribution of significant materials to storm water runoff from at least the following areas or activities:

- Loading, unloading, and other material handling operations

- Outdoor storage including secondary containment structures

- Outdoor manufacturing or processing activities

- Significant dust or particulate generating processes

- Discharge from vents, stacks, and air emission controls

- On-site waste disposal practices

- Maintenance and cleaning of vehicles, machines, and equipment

- Areas of exposed and/or erodible soils

- Sites of Environmental Contamination listed under Part 201 (Environmental Response) of the NREPA

- Areas of significant material residues

- Areas where animals congregate (wild or domestic) and deposit wastes

- Other areas where storm water may contact significant materials

For each applicable item, the permit requires a written description of the specific activity or storage area.  Along with the written description of the activities or storage areas, a description of the significant materials associated with those items must be included.

  - List of Significant Spills:

SEE SECTION 14.0, TABLE 2, SPILL KIT INVENTORY

The permit requires a list of significant spills and significant leaks of polluting materials that occurred at areas that are exposed to precipitation or that otherwise discharge to a point source at the facility.  The listing shall include spills that occurred over the three years prior to the effective date of a certificate of coverage authorizing discharge under the General Permit.  The listing shall include the date, volume, exact location of release, and actions taken to clean up the material and/or prevent exposure to storm water runoff or contamination of surface waters of the state.  Any release that occurs after the SWPPP has been developed shall be controlled in accordance with the SWPPP and is cause for the SWPPP to be updated as appropriate within 14 calendar days of obtaining knowledge of the spill or loss.  If there have been no spills of polluting materials, state that in this section.

Question:  Have there been any significant spills or significant leaks of polluting materials in the last 3 years?  Yes    X No

- If the answer above is “Yes” then input the applicable information in the table below:

| Significant Spills and Significant Leaks of Polluting Materials Table |  |  |
| --- | --- | --- |
| Location & Date | Material & Volume | Corrective Actions Taken |
| None | -- | -- |

  - Summary of Sampling Data

The permit requires a summary of existing storm water discharge sampling data (if available) describing pollutants in storm water discharges associated with industrial activity at the facility.  The summary shall be accompanied by a description of the suspected sources of the pollutants detected.  (If there is no storm water discharge sampling data, state that in this section.)

Question:  Is there any storm water discharge sampling data available?    Yes    X No

- If the answer to the above question is “Yes” then summarize the information below and maintain the data with the SWPPP file.

Summary of Sampling Data: None

  - Actions Taken to Investigate Illicit Connections

The permit requires that the SWPPP include a description of the actions taken to identify and eliminate illicit connections to the storm sewer system.  All illicit connections to Municipal Separate Storm Sewer Systems (MS4s) or waters of the state should be permanently plugged or re-routed to the sanitary sewer system, in accordance with the authorization from the local Wastewater Treatment Plant. Any discharge from an illicit connection is a violation of the conditions of this permit.

Actions taken to investigate and eliminate any illicit connections to the storm sewer system: Review of facility operations and detailed inspection of storm drainage flow paths, drainage system, facility boundary, and BML-1, BML-2, and BML-3. Verified that there are no building drains that discharge outside or to the storm system. No illicit connections were identified.

- NON-STRUCTURAL CONTROLS

5.1  	Auto Recycler Best Management Practices

- Sweep and clean concrete crushing pad regularly and as needed, to remove accumulated sediment and debris.

- Inspect and inventory incoming salvage vehicles for leaks and spills, and contain the leaks or immediately process the vehicles.

- Control fluids during parts dismantling and vehicle processing. Properly drain fuel, antifreeze, brake fluid, motor oil, and transmission fluid. Conduct all processing and dismantling of fluid-containing parts in the dismantling building. Use excellent housekeeping and spill controls. Safely drain gasoline and diesel fuel from salvage vehicles prior to long term storage or dismantling.

- Properly store and handle all vehicle and equipment fluids. Store used oils, used antifreeze, and new fluids in the dismantling building; store gasoline and diesel fuel outside in the designated secondary containment structures. Follow DEQ and MiOSHA HazCom labeling and container/closure requirements.

- Properly handle, store, and package lead-acid batteries. Properly label. Remove batteries from salvage vehicles, store batteries in the dismantling building on pallets, store cracked batteries separately and contain and neutralize spilled acid, and ship batteries in covered containers or shrink-wrapped pallets (or have batteries picked up by an authorized battery recycler).

- Remove convenience light mercury switches, where present, from domestic (US brand) vehicles from year 2002 and older.  Participate in the ELVS mercury switch removal program.

- Dispose of trash and debris. Debris, trash, and other non-recyclable material to be properly contained and disposed. Store trash in the covered trash dumpster.

- Properly store oily vehicle parts. Motors, transmissions, radiators, and other fluid-containing parts to be sold are stored in the warehouse. Core and scrap parts are stored in a covered container. Parts stored outside may include body parts, wheels, frames, tires, sealed or drained non-leaking axle assemblies, and other non-oily parts.

- Maintain adequately stocked and located Spill Kits. Control fluid leaks or spills from outdoor processing or mobile equipment. Control and promptly clean up leaks and spills.

- Fully process all vehicles before crushing. Use good housekeeping and spill control during and following each crushing operation.

- Control erosion by maintaining the roadways and placing crushed asphalt, stone, and gravel.

- Keep all BMLs clean of debris and sediment deposits and prevent scouring.

- Control any other significant pollution sources that are not adequately addressed by the best management practices listed above. Address TMDL requirements for sediment and phosphorus.

5.2	Preventative Maintenance Program (Routine Inspection Program)

The permit requires written procedures and a schedule for routine preventive maintenance which includes inspection and maintenance of storm water management and control devices (e.g. cleaning of oil/water separators and catch basins) as well as inspecting and testing plant equipment and systems to uncover conditions that could cause breakdowns or failures resulting in discharges of pollutants to surface waters.  Generally the focus of this permit requirement is on exterior items.  A written report of the inspection and corrective actions shall be maintained on file and shall be retained for three years. See the DEQ Industrial Storm Water Certified Operator Training Manual for additional information.

Preventive Maintenance Inspections are conducted and documented bi-weekly (every two weeks). See Routine Housekeeping / Preventive Maintenance Inspection Form.

  - Housekeeping Procedures (Routine Inspection Program)

The permit requires that the SWPPP include written procedures and a schedule to implement routine good housekeeping inspections to maintain a clean, orderly facility.  Good housekeeping inspections are intended to reduce the potential for significant materials to come in contact with storm water.  The routine good housekeeping inspections should be combined with the routine inspection for the preventative maintenance program.  Generally the focus of this permit requirement is on exterior areas.  A written report of the inspection and corrective actions shall be maintained on file and shall be retained for three years.  See the DEQ Industrial Storm Water Certified Operator Training Manual for additional information.

Housekeeping Inspections are conducted and documented bi-weekly (every two weeks). See Routine Housekeeping / Preventive Maintenance Inspection Form.

ROUTINE GOOD HOUSEKEEPING/PREVENTIVE MAINTENANCE INSPECTIONS

WRITTEN PROCEDURES

- Who: These inspections are not required to be conducted by the Industrial Storm Water Certified Operator, but the Certified Operator must supervise and review the inspections.

- When: Conduct the combined good housekeeping and preventive maintenance inspections every two weeks. Suggest picking a day of the week, and conduct the inspection on that day every two weeks.

- How: Walk through the facility to observe the inspection items and inspect each piece of equipment used at the facility, structural controls, vegetative swale, BMLs, and each activity that is listed in Section 5.1. Identify deficiencies, areas that need to be cleaned, and corrective actions. Address areas in which significant materials have a reasonable potential to contaminate storm water. Check to make sure that proper procedures are being followed and identify areas that need maintenance.

- Document: Fill out the “Good Housekeeping/Preventive Maintenance Inspection Report”. Review the reports when conducting the quarterly Comprehensive Site Inspections. In a separate location, keep all records from equipment maintenance and repair work. Retain all records for at least three years.

- Good Housekeeping: Facility should be neat, clean, and orderly.

- Nonstructural Control Measures:

  - Spill kits available and well-stocked

  - Spills & leaks prevented and cleaned up

  - Entrance and parking – clean and maintain

  - Erosion is controlled: maintain crushed asphalt and gravel surface and roadways

  - Debris and waste clean up

  - BMLs are clean and free of debris and sediment deposits

  - Parts are stored properly

  - Crushing operation (if present) – housekeeping and spill control

- Structural Controls:

  - Crushing pad clean and swept (if present)

  - Vehicle processing and dismantling – good housekeeping and spill control

  - Maintain gravel and crushed asphalt on roadways and vehicle storage area

  - Proper engine, transmission, batteries, mercury switches, and oily parts storage

  - Fluid storage (outside secondary containment or in dismantling building)

  - Retention pond maintenance (if present)

  - Vegetation condition

  - Fences

- Preventive Maintenance: Inspect equipment used at facility.

  - Include facility equipment: truck scale, loaders, forklifts, skid steer, crusher, and car hauler. You do not need to duplicate the DOT inspections required for on-road trucks. You do not need to document inspections of small mechanical or electrical equipment used indoors such as tire pullers, compressors, saws, drills, etc.

  - Inspect and record fluid levels, hoses and lines, and leaks and spills. Under “Other”, list any other parts that appear to be failing or are in need of repair.

  - If your facility has a different Preventive Maintenance report format, you may use that instead if it covers the items listed above – but the inspections must be conducted at least every two weeks. Attach a copy of those reports in this section.

  - Include inspections of the outfalls (BMLs). Remove accumulated sediments, clean, and repair as needed.

  - Comprehensive Site Inspection & Visual Assessments of Storm Water Discharges

Comprehensive Site Inspections

The permit requires written procedures and a schedule for comprehensive site inspection.  The inspections shall include but not be limited to, the areas and equipment identified in the preventive maintenance program and good housekeeping procedures.  The inspection shall also include a review of the routine preventive maintenance reports, good housekeeping inspections reports, and any other paperwork associated with the SWPPP.  The comprehensive site inspection shall be conducted by the Industrial Storm Water Certified Operator quarterly.  At a minimum one inspection shall be performed within each of the following quarters:  January – March, April – June, July – September, and October – December.

A report of the comprehensive site inspection results shall be prepared and retained for three years.  The report shall include the following information:

- Date of the inspection

- Name(s), title(s), and certification number(s) of the personnel conducting the inspection

- Precipitation information (i.e. a description of recent rainfall or snow met events)

- All observations relating to the implementation of control measures

- Any required revisions to the SWPPP resulting from the inspection

- A certification stating the facility is in compliance with this permit and the SWPPP, or, if there are instances of noncompliance, they are identified.

Comprehensive Site Inspections are conducted and documented Quarterly: Jan-Mar; Apr-Jun; Jul-Sep; Oct-Dec. See Comprehensive Site Inspection Form.

COMPREHENSIVE SITE INSPECTIONS
WRITTEN PROCEDURES

- Who: To be conducted by Industrial Storm Water Certified Operator

- When: Conduct Quarterly (J-M, A-J, J-S, O–D)

- Conduct: Visual assessment of storm water discharges at the BMLs within 30 days of Comprehensive Site Inspection (if a qualified storm event occurs). If a qualified storm event does not occur, you still must conduct a comprehensive inspection each quarter.

- Summarize: Good Housekeeping/Preventive Maintenance Inspections conducted during that quarter

- Evaluate: nonstructural and structural control measures

- Identify: deficiencies and needed corrective actions

- Compliance Certification Statement: Determine if facility is in compliance with permit

- Identify: needed SWPPP revisions and revise SWPPP accordingly

- Document: Fill out Comprehensive Site Inspection Form: document deficiencies and corrections made

- Retain: Comprehensive Site Inspection Form for at least 3 years

Visual Assessments of Storm Water Discharges

The permit requires written procedures and a schedule for quarterly visual assessments of storm water discharges.  The visual assessments shall be conducted by the Industrial Storm Water Certified Operator.  At a minimum one visual assessment shall be performed within each of the following quarters:  January – March, April – June, July – September, and October – December.  If the Department has approved an alternate schedule for the comprehensive site inspection, the visual assessment may likewise be conducted in accordance with the same approved alternate schedule.

Visual Assessments of Storm Water Discharges are conducted and documented Quarterly. See Benchmark Monitoring and Visual Assessment Report Form. See Section 13 for Written Procedures for Visual Assessments.

5.5	Material Handling & Spill Prevention / Clean-Up Procedures

The permit requires a description of material handling procedures and storage requirements for significant materials.  Equipment and procedures for cleaning up spills shall be identified in the SWPPP and made available to the appropriate personnel.  The procedures shall identify measures to prevent spilled materials or material residues on the outside of the containers from being discharged into storm water.

Question:  Does the facility have any additional material handling & spill / clean-up procedures on file in addition to the SWPPP?  X No     Yes

- If the answer is “No” complete the table below

- If the answer is “Yes” then reference the procedures and where they are located here and complete the table below as necessary:

Spills and leaks together are the largest industrial source of storm water pollution.  Thus, this SWPPP specifies material handling procedures and storage requirements for significant materials.  Equipment and procedures necessary for cleaning up spills and preventing the spilled materials from being discharged have also been identified.  All employees have been made aware of the proper procedures.  See the DEQ Industrial Storm Water Certified Operator Training Manual for additional information.

The DEQ, WRD Industrial Storm Water program spill report compliance assistance document should be kept with the SWPPP.  Download the document from the DEQ, WRD Industrial Storm Water webpage or by clicking on the following link:  http://www.michigan.gov/documents/deq/wrd-isw-permit_info-spill-reporting_398791_7.pdf. See Section 17.0, DEQ Spill or Release Report.

| Material Handling & Spill Prevention / Clean-up Procedures Table |  |  |
| --- | --- | --- |
| Potential Spill Area | Material Handling & Storage Procedures | Spill Response Procedures & Equipment |
| Incoming vehicles | Inspect incoming salvage vehicles for leaks/ spills and any other potential contaminant releases. Contain the releases and/or immediately process the vehicles. | Spill Kit in incoming vehicle vicinity to include socks, pads, granular absorbent, shovel, broom, and bin to hold used absorbents. Follow spill response plan. |
| Salvage vehicle processing and dismantling | Drain vehicle fluids and place in designated containers which are labeled. Remove batteries, mercury switches (if present), and refrigerant. Process and dismantle vehicles in the dismantling building. | Dismantling Spill Kit to include socks, pads, granular absorbent, shovel, broom, and bin to hold used absorbents. Follow spill response plan. |
| Motor/ transmission storage | Motors and transmissions for sale to be drained and plugged, and stored in the warehouse. Store core and scrap motors and transmissions in the covered core container. | Provide spill response supplies wherever motors or transmissions, or other oily parts, are stored. Follow spill response plan. |
| Equipment maintenance and fueling | Perform routine maintenance inside a building where possible, but outside maintenance will be required at times. Properly contain all fluid releases and oily equipment parts. Clean up any released fluids. | Provide spill response supplies wherever equipment maintenance is being conducted. Follow spill response plan. |
| Fluid storage areas | Store fluids in the designated tanks in the dismantling buiding or outside within the secondary containment structures. Keep containers closed or capped when not in use. Properly label all containers. | Provide Spill Kits wherever fluids are used, handled, or stored. Include socks, pads, granular absorbent, shovel, broom, and bin to hold used absorbents. Follow spill response plan. |
| Trash and waste disposal | Covered trash dumpster. | Use dismantling Spill Kit and other supplies as needed. |
| Crusher operation | Fully process all vehicles before crushing, use excellent housekeeping and spill controls. | Crush area Spill Kit. Follow spill response plan. |

Secondary Containment Management (if present)

If rainfall or snowmelt accumulate within the secondary containment, the water can be allowed to evaporate if the water volume is small. If there is any evidence that the water is contaminated (such as a sheen or odor), the accumulated contaminated water must be pumped out by a licensed liquid waste hauler and transported to an approved facility such as a wastewater treatment or industrial treatment facility. The potentially contaminated water cannot be released to the ground or the environment.

5.6	Soil Erosion & Sedimentation Control Measures

The permit requires the identification of areas which, due to topography, activities, or other factors, have a high potential for significant soil erosion.  Areas commonly prone to soil erosion are: gravel lots, bare earth or gravel at material handling areas around storm water inlets, areas with concentrated storm water runoff into streams or ditches, and access roads over open streams or ditches. Control measures must be implemented in areas prone to soil erosion and sedimentation.  More information on soil erosion and sedimentation control may be obtained from the DEQ, Water Resources Division District Office.

Question:  Is dust suppression material used on site?   Yes    X No

Question:  Are there areas of the site that are prone to soil erosion and/or sedimentation?  Yes

- If “Yes” then complete the table below:

| Soil Erosion & Sedimentation Control Measures Table |  |
| --- | --- |
| Areas Prone to Soil Erosion or Sedimentation | Control Measures Implemented |
| Vehicle storage area – mostly crushed asphalt or gravel/stone | Maintain crushed asphalt and gravel. Grade and bring in additional material as needed. |
| Entrance, parking, and roadways | Maintain: add crushed asphalt as needed, fill potholes, grade |
| Vegetation (minimal) | Maintain vegetation along the facility boundary. Do not apply excessive fertilizers or pesticides. Cut as needed. Do not place parts or debris within vegetated areas. |
| Retention pond | Control scouring and erosion along border (“shoreline”) of pond. Prevent scouring at pond outlet. |
| BML-1, BML-2, and BML-3 | Prevent scouring and erosion, clean out sediment deposits. Prevent debris accumulation. Provide good accessible locations for water sample collections for visual assessments. |

5.7	Employee Training Program: See Section 15.0, Employee Training Form

The permit requires a description of employee training programs have been implemented to inform appropriate personnel at all levels of responsibility of the components and goals of the SWPPP.  Recent modifications to the General Permits have included a requirement for annual employee training.

Employee training will be a major component in ensuring the success of the facility’s SWPPP.  The more knowledgeable all employees are about the facility’s SWPPP and what is expected of them, the greater the chance that the plan will be effective.  The following is a description of the employee training programs to be implemented to inform appropriate personnel at all levels of responsibility of the components and goals of the SWPPP (i.e., good housekeeping practices, spill prevention and response procedures, waste minimization practices, informing customers of facility policies, etc.).

Employee Training Frequency:

Annual

Employee Training Program Description:

Review storm water permit requirements, nonstructural & structural controls, and inspection/observation results. Focus on spill control procedures and spill kits.

- Material handling practices (see table above)

- Auto recycler BMPs (Section 5.1)

- Inspection of incoming vehicles

- Proper processing and dismantling of vehicles

- Proper storage of fluids, batteries, and mercury switches

- Proper storage of vehicle parts

- Management of vehicle storage area and roadways

- Crushing operation practices

- Trash and debris clean up and disposal

- Secondary containment management

- Maintenance of vegetated areas

- Inspection and cleaning of BML locations

- Spill prevention and spill response

- Spill reporting requirements

- When appropriate, the training will include the DEQ Storm Water Training Video DVD and other DEQ guidance materials

5.8	TMDL Requirements

The permit requires that if there is a Total Maximum Daily Load (TMDL) established by the Department for the receiving water, which restricts the discharge of any of the identified significant materials or constituents of those materials, then the SWPPP shall identify the level of control for those materials necessary to comply with the TMDL.

The TMDL means the amount of pollutant load a water body, such as a lake or stream, can assimilate and still meet water quality standards.  If a receiving water body does not meet the water quality standards for a specific pollutant, the DEQ will establish the appropriate daily maximum load for that pollutant to allow the water body to again meet water quality standards.  If a permitted facility is expected to discharge that specific pollutant in its storm water to that water body, the General Permit requires the facility to list actions it will take to meet that TMDL requirement.

The applicable TMDLs will be identified on the Certificate of Coverage (COC).

Question:  Is there a TMDL Requirement listed on the COC?  Yes

- If the answer to the above question is “Yes” then complete the table below:

| TMDL Pollutant: | Best Management Practices Implemented to reduce the discharge of the TMDL pollutant: |
| --- | --- |
| Sediment | Road maintenance, grading, crushed asphalt, erosion control, retention pond, sweeping concrete crushing pad, prevent scouring at BML-1, 2, and 3. |
| Phosphorus | Controlling sediment (see above) will also control phosphorus runoff. Avoid use of fertilizers, and keep trash covered. |

  - List of Significant Materials Still Present

The permit requires the identification of significant materials expected to be present in storm water discharges following implementation of non-structural preventative measures and source controls.  Non-structural controls are used to reduce pollutants at the source before they can get into the storm water runoff.  In some cases, these types of controls will not be enough.  A list of significant materials expected to be present in storm water discharges after implementation of nonstructural controls must be included in the SWPPP.  The materials listed below will be addressed through the use of structural controls. (If there will be no significant materials present after the implementation of non-structural controls, state that in this section.)

Sediment, vehicle and equipment fluids, and certain metals are expected to be present in storm water runoff following the use of nonstructural controls that are required under permit MIS220000. Structural controls, including buildings, concrete pads, retention pond, BML locations, crushed asphalt cover, parts racks and containers, secondary containment structures, fences, covered trash dumpster, and vegetation will further reduce the runoff of sediment, fluids, and metals.

- STRUCTURAL CONTROLS

The permit requires that where implementation of non-structural controls does not control storm water discharges in accordance with water quality standards, the SWPPP shall provide a description of the location, function, and design criteria of structural controls for prevention and treatment.

Structural controls may be necessary:

- To prevent uncontaminated storm water from contacting or being contacted by significant materials; or

- If preventive measures are not feasible or are inadequate to keep significant materials at the site from contaminating storm water.  Structural controls shall be used to treat, divert, isolate, recycle, reuse, or otherwise manage storm water in a manner that reduces the level of significant materials in the storm water and provides compliance with the Water Quality Standards

Examples of structural controls include the following:

| - Signs and Labels | - Paving |
| --- | --- |
| - Safety Posts | - Curbing |
| - Fences | - Drip Pans |
| - Security Systems | - Secondary Containment |
| - Temporary and Permanent Coverings | - Catch Basin Inserts |
| - Storm Water Conveyances | - Detention and Retention Ponds |
| - Diversion Dikes | - Vegetative Filters |
| - Grading | - Oil/Water Separators |

These types of controls are physical features that control and prevent storm water pollution.  They can range from preventive measures to collection structures to treatment systems.  Structural controls will typically require construction of a physical feature or barrier.  Below is a description of the structural controls used at the facility.  See the DEQ Industrial Storm Water Operator Training Manual for additional details on structural controls.

Question:  Are structural control measures used at the facility?   No   X Yes

- If answer above is “Yes” then complete the appropriate information in the table below.

| Structural Controls Used at the Facility |  |  |
| --- | --- | --- |
| Description of structural control(s) | Location of structural control(s) | Significant Materials intended to be managed by the structural control(s) |
| Vehicle processing & dismantling – dismantling building | Dismantling building – east of office | Fluids, metals, rust |
| Fluid storage – inside, labeled Used oil: (2) 300-g plastic totes Used antifreeze: plastic drums New fluids: drums and small containers | Dismantling building | Used oil Used antifreeze New vehicle and equipment fluids |
| Fluid storage – outside, labeled Diesel: 1,000-g steel tank Gasoline: 500-g steel tank | Secondary containment: Diesel: concrete secondary containment in southwest corner of facility Gasoline: concrete secondary containment in northeast corner of facility | Diesel fuel Gasoline |
| Battery storage on pallets | Dismantling building | Battery acid, lead |
| Mercury switches – ELVS participant | ELVS Container, Dismantling building | Mercury |
| Motors & transmissions storage | Warehouse | Fluids, metals |
| Core and scrap parts | Covered container near entrance | Fluids, metals, rust |
| Crusher concrete pad | Southeast of warehouse | Debris, fluids, metals, broken glass, paint chips |
| Parts racks (off ground) and miscellaneous parts storage | Vehicle parts & tires mostly stored along northern and eastern facility boundary and adjacent to buildings | Metals, paint chips, rust |
| Crushed asphalt, stone, and gravel | Vehicle storage, roadways, parking | Sediment, metals |
| Trash dumpster (covered) | East of core container | Trash, debris |
| Vegetation | Perimeter of facility, BML -3 | Sediment, phosphorus |
| Retention pond | Southeast corner of facility, at BML-2 | Sediment, metals |
| Perimeter fence | Entire facility boundary | Prohibits access, vandalism, theft |

- NON-STORM WATER DISCHARGES

The permit requires that all discharge locations be evaluated for the presence of non-storm water discharges.  Any unauthorized storm water discharges must be eliminated, or covered under another NPDES permit.

Storm water shall be defined to include all of the following non-storm water discharges provided pollution prevention controls for the non-storm water component are identified in the SWPPP.

Question:  Are any of the 10 non-storm water discharges listed below applicable to the facility?  X No    Yes

- If the answer is “Yes” then complete the appropriate sections of the table below:

| Check the Applicable Non Storm Water Discharges at the Facility: |  | Pollution Prevention Controls Implemented: | Impacted Inlet(s): | Impacted Discharge Point(s): |
| --- | --- | --- | --- | --- |
|  | - Discharges from fire hydrant flushing |  |  |  |
|  | - Potable water sources including water line flushing |  |  |  |
|  | - Water from fire system testing and fire fighting training without burned materials or chemical fire suppressants |  |  |  |
|  | - Irrigation drainage |  |  |  |
|  | - Lawn watering |  |  |  |
|  | - Routine building wash-down that does not use detergents or other compounds |  |  |  |
|  | - Pavement wash waters where contamination by toxic or hazardous materials has not occurred (unless all contamination by toxic or hazardous materials has been removed) and where detergents are not used |  |  |  |
|  | - Uncontaminated condensate from air conditioners, coolers, and other compressors and from the outside storage of refrigerated gases or liquids |  |  |  |
|  | - Uncontaminated ground water |  |  |  |
|  | - Foundation or footing drains where flows are not contaminated with process materials such as solvents |  |  |  |

Discharges from fire fighting activities are authorized by the permit, but are exempted from the requirement to be identified in the SWPPP.

- ANNUAL REVIEW

The permit requires that the permittee shall review the SWPPP annually after it is developed and maintain written summaries of the reviews.  Based on the review, the permittee shall amend the SWPPP as needed to ensure continued compliance with the terms and conditions of the permit.  The annual review is to be retained on site for three years and depending on the general permit is required to be submitted to the DEQ district office on or before January 10th of each year.  See Section 16.0, Annual SWPPP Review Report Form.

Specify the month the Annual SWPPP Review will be performed: January

- INDUSTRIAL STORM WATER CERTIFIED OPERATOR UPDATE

The permit requires that if the Industrial Storm Water Certified Operator is changed or an additional Industrial Storm Water Certified Operator is added, the permittee shall provide the name and certification number of the new Industrial Storm Water Certified Operator to the Department.  If a facility has multiple Industrial Storm Water Certified Operators, the name and certification number of the Industrial Storm Water Certified Operators shall be included in the SWPPP.

Tom Larson 		Certification # I-16234		exp. July 1, 2023

- RECORD KEEPING

The permit requires that the permittee shall maintain records of all SWPPP related inspection and maintenance activities.  Records shall also be kept describing incidents such as spills or other discharges that can affect the quality of storm water runoff.  All such records shall be retained for three years.  The following records are required by the permit:

- Routine preventive maintenance inspection reports

- Routine good housekeeping inspection reports

- Comprehensive site inspection reports

- Documentation of visual assessments

- Employee training records

- Written summaries of the annual SWPPP review

- Short Term Storm Water Characterization Study data

- SWPPP CERTIFICATION

The permit requires that the SWPPP shall be reviewed and signed by the Certified Storm Water Operator(s) and by either the permittee or an authorized representative in accordance with 40 CFR 122.22.  The SWPPP shall be retained on-site at the facility which generates the storm water discharge.

I certify under penalty of law that the storm water drainage system in this SWPPP has been tested or evaluated for the presence of non-storm water discharges either by me, or under my direction and supervision.  I certify under penalty of law that this SWPPP has been developed in accordance with the General Permit and with good engineering practices.  To the best of my knowledge and belief, the information submitted is true, accurate, and complete.  At the time this plan was completed no unauthorized discharges were present.  I am aware that there are significant penalties for submitting false information, including the possibility of fine or imprisonment for knowing violations.

Permittee or Authorized Representative

Printed Name & Title: Tom Larson, Owner

Signature & Date: Thomas Larson May 1, 2019

Industrial Storm Water Certified Operator

Printed Name: Tom Larson

Signature & Date: Thomas Larson May 1, 2019

12.0	TABLE 1 – SIGNIFICANT MATERIAL INVENTORY AND DESCRIPTION OF INDUSTRIAL ACTIVITY

Instructions - Fill out the applicable areas or activities in the corresponding sections. Add more lines as needed. Once you have described the area or activity, list the significant materials that are associated with the areas or activities, the exposure methods, and evaluate the level of exposure. Once that is completed indicate the inlet(s) and discharge point(s) that would be impacted if significant materials were discharged from the areas or activities described.

| Section Listed in General Permit | Storage Areas / Activity Areas | Significant Materials | Exposure Method | Reasonable Potential Evaluation (high,medium,low) | Inlet(s) | Discharge Point(s) |
| --- | --- | --- | --- | --- | --- | --- |
| 1) Loading, unloading, and other material handling operations | Vehicle holding area | incoming vehicles: metals, fluids | outside | medium | -- | BML-1 |
|  | Parts loading/unloading | parts: metals, fluids | outside | low | -- | BML-1,2 |
| 2) Outdoor storage including secondary containment structures | Parts racks | bumpers, doors, fenders, truck boxes, body parts, tires, wheels, etc: metals, fluids | outside | low | -- | BML-2 |
|  | Vehicle storage area | dismantled vehicles | outside | medium | -- | BML-2,3 |
|  | Fluid storage: secondary containment | - Diesel fuel (1,000-g) - Gasoline (500-g) | outside - in secondary containment | medium | -- | BML-2,3 |
|  | Core & scrap parts: covered container | core/scrap motors, transmissions, and other parts: metals, fluids | outside | high | -- | BML-2 |
| 3) Outdoor manufacturing or processing activities | Vehicle processing and dismantling (most in dismantling building) | vehicles and parts: metals, fluids | minor dismantling outside in vehicle storage area | medium | -- | BML-2,3 |
|  | Vehicle crushing | vehicles: metals, sediment, fluids, glass, paint chips, debris | outside – crushing concrete pad | high | -- | BML-2 |
| 4) Significant dust or particulate generating processes | Entrance/parking/access | sediment, oil & grease | outside | low | -- | BML-1,2 |
|  | Vehicle storage area & roads | sediment, metals, fluids | outside | medium | -- | BML-1,2,3 |
|  | Vegetation (facility perimeter) | sediment, phosphorus | outside | low | -- | BML-2,3 |
| 5) Discharge from vents, stacks, and air emissions | None | -- | -- | -- | -- | -- |
| 6) On-site waste disposal practices | Trash dumpster east of core container near entrance | trash and debris | outside | low | -- | BML-2 |

12.0	TABLE 1 CONTINUED

| Section Listed in General Permit | Storage Areas / Activity Areas | Significant Materials | Exposure Method | Reasonable Potential Evaluation (high,medium,low) | Inlet(s) | Discharge Point(s) |
| --- | --- | --- | --- | --- | --- | --- |
| 7) Maintenance and cleaning of vehicles, machines and equipment | Equipment maintenance | oil, grease, other fluids | most conducted inside building – but emergency repairs could be done outside | medium | -- | BML-1,2,3 |
| 8) Areas of exposed and/or erodible soils | Entrance/parking/access | sediment, phosphorus | outside | low | -- | BML-1 |
|  | Roadways (crushed asphalt, gravel) | sediment, metals | outside | high | -- | BML-1,2,3 |
|  | Vehicle storage | sediment, metals | outside | medium | -- | BML-2,3 |
|  | BMLs | sediment, metals, fluids | outside | medium | -- | BML-1,2,3 |
| 9) Sites of Environmental Contamination listed under Part 201 | None | -- | -- | -- | -- | -- |
| 10) Areas of significant material residues | None | -- | -- | -- | -- | -- |
| 11) Areas where animals congregate (wild or domestic) and deposit wastes | None | -- | -- | -- | -- | -- |
| 12) Other areas where storm water may contact significant materials | None | -- | -- | -- | -- | -- |

13.0	VISUAL ASSESSMENT PROCEDURES

- List the discharge point(s) (as indicated on the SWPPP map):

BML-1, BML-2, BML-3

- Is there substantially identical discharge points?   Yes  X No

If “Yes” then complete a) and b) below, if “No” go to Number 2.

- Describe the justification for the substantially identical discharge points determination?

- List the schedule for alternating the substantially identical discharge points:

- Describe the monitoring (sampling) location for each discharge point:

BML-1: surface runoff at gravel entrance

BML-2: outlet pipe from retention pond, rock spillway

BML-3: vegetated swale

- List the Qualified Personnel that will collect the water sample/visual observation:

Tom Larson

- Training for the Qualified Personnel includes viewing the Visual Assessment Webinar and/or the 3 Visual Assessment Tutorials on the DEQ, WRD Industrial Storm Water webpage.  Check the appropriate box below:

X Yes

No, however a copy of the training materials used are included with this procedure.

- List the sampling equipment used for the collecting the water sample(s):

Water samples for visual assessments will be collected in a clear plastic or glass container.

- Complete a) through c) below to describe the storm event information.

- Describe how qualifying storm events are determined (including nature of the event):

Monitor weather forecasts and observe on site rain gage.

- Describe how each discharge point was evaluated to determine when a discharge would begin:

A qualifying storm event is a sufficient rain or snowmelt that causes a discharge to occur from the sewer outfall during the appropriate time period (quarter).   A qualifying storm event must be at least 72 hours from the previous storm event which resulted in a discharge. During an event, the BML-1, BML-2, and BML-3 will be observed to determine when a discharge begins.

- Describe what would constitute an adverse weather condition that would prevent sample collection:

Excessive wind or lightning. Tornado watch or warning.

- Describe how the samples will be collected (Determine the timing sequence for water sample collection from the discharge points):  Sequence: BML-1, then BML-2, then BML-3. Steps: 1. Visual observation of discharge at each discharge point; 2. Collection of sample at each discharge point; 3. Care taken to not disturb or resuspend any sediments; 4. Sample taken within 30 minutes of start of discharge, if possible; and 5. Samples will be collected by skimming the surface of the water.

- Describe the water sampling instructions that the Qualified Personnel will follow:

Visual observation samples will be collected at BML-1, BML-2, and BML-3 in clear plastic or glass containers, where possible within 30 minutes of start of discharge. Color photo taken of samples with a white background in suitable light. Describe sample and fill out WRD Visual Assessment Form for each discharge point. Visual assessments must be conducted within one month of the Comprehensive Inspection.

- Described how observations made by the Qualified Personnel will be documented during the discharge (include nature of the event):  Fill out WRD Visual Assessment Forms and include color photos of sample taken in suitable light.

- Describe the sample storage procedures if applicable:  The WRD Visual Assessment Forms and photographs will be completed the same day as sample collection. No sample preservation will be required.

- Describe the procedures the Industrial Storm Water Certified Operator will follow to perform the visual assessment(s) of the water sample(s):  During a suitable qualified storm event, the samples will be collected in clear plastic or glass containers, if possible within the first 30 minutes of discharge. The samples will be viewed and assessed in suitable light and color photographs taken against a white background. The observer will describe the characteristics of the samples, and complete the WRD Visual Assessment Forms. If there is evidence of contamination, the source or cause of the contamination will be identified if possible. Appropriate corrective actions will be implemented.

- List the name(s) of the Industrial Storm Water Certified Operator  that will be performing the water sample visual assessment(s):  Tom Larson

- The DEQ, WRD Visual Assessment Report form should be used to document each water sample visual assessment.  Check the appropriate box below:

X  Yes, the DEQ, WRD Benchmark Monitoring and Visual Assessment Report form is used.

No, the DEQ, WRD Visual Assessment Report form is not used however the form being used to meet this requirement is included with this procedure.

- Colored Photos shall be used to record the visual assessment(s).  If other methods of recording observations will be used describe those methods:  Color photographs will be taken. No other methods will be used.

- All visual assessment documentation should be kept with the SWPPP file.  If documentation will be kept at an alternate location state that location:  The visual assessment documentation will be kept with the SWPPP file .

- Describe the follow-up actions that will be taken if unusual characteristics are observed during the visual assessment(s):  Determine source and take corrective action. For example, potential sources of excessive sedimentation (TSS, turbidity, settleable solids) could be excessive sediment erosion in vehicle storage areas and roadways, eroded crushed asphalt, or resuspended sediments at the discharge BMLs. Potential sources of an oily film on the sample might be leaking equipment or inadequate clean up of spills. Example suitable corrective actions may include improved erosion control, crushed asphalt maintenance, quicker cleanup of leaks and spills, and improved equipment preventive maintenance.

14.0	TABLE 2 – SPILL KIT INVENTORY AND SPILL RESPONSE PLAN

List the spill response equipment that will be maintained in each location or locker (refer to SDSs to determine recommended clean-up methods and supplies):

Person responsible for maintaining this inventory: Tom Larson

| Locker number or location | Absorbents (pads, booms, kitty litter, etc.) | Tools (shovels, brooms, squeegees, etc.) | Personal Protective Equipment (rubber gloves, boots, masks, etc.) | Other Supplies (warning tape, labels, markers, SDSs, etc.) |
| --- | --- | --- | --- | --- |
| Dismantling building | pads, socks, granular | broom, shovel, dustpan, bin | safety glasses, safety boots | SDS are available. Labels. First aid kits |
| Crushing operation | pads, socks, granular | broom, shovel, dustpan, bin | safety glasses, safety boots | SDS are available. Labels. First aid kits |
| Fluid Storage – secondary containment (diesel fuel and gasoline) | pads, socks, granular | broom, shovel, dustpan, bin | safety glasses, safety boots | SDS are available, Labels. First aid kits |
| Core & scrap storage: covered container | pads, socks, granular | shovels, bins | safety glasses, safety boots | SDS are available, Labels. First aid kits |
| Warehouse | pads, socks, granular | broom, shovel, bin | safety glasses, safety boots | SDS are available, Labels. First aid kits |

Label each spill kit with the words “SPILL KIT” and the necessary emergency telephone number(s) or pager number(s) of persons to be contacted in case of a spill or leak that is beyond the training and equipment available on or near each spill locker:

Facility Responsible Person/Phone Number: 	 Tom Larson, 248-946-1234

Spill Response Contractor (if any)/Phone Number:   None

DEQ District Office Phone Number:                          Lansing District, 517-284-6651

DEQ 24-Hour Emergency Spill Reporting Hot-Line: 800-292-4706 (PEAS Number)

When to Report Spills

You must immediately report spills of oil (including used oil, transmission fluid, brake fluid, gasoline, and diesel fuel) and other polluting materials (including antifreeze, solvents, detergents, cleaners, and paints) if certain threshold reporting quantities are exceeded. You must report any release of oil, fuel, or any polluting material to the waters of the state that causes unnatural turbidity, color, visible sheens, oil films, foams, solids, or deposits within the receiving water body. In addition, you must report an oil or fuel release to the surface of the ground that exceeds 50 pounds (about six gallons).These thresholds include mixed or diluted fluids that contain at least 1% of the materials listed above.

Write the following warning on each spill kit:

“WARNING: NEVER HOSE DOWN A SPILL!

CLEAN IT UP PROMPTLY AND DISPOSE OF THE WASTE PROPERLY.”

SPILL RESPONSE PLAN

- Spill Control Preparation

Prevention of spills/ leaks and the prompt clean up of releases is the responsibility of all employees. Preparation includes spill prevention practices, proper training, providing spill kits wherever fluids are used or stored, employee safety (PPE, first aid, and Safety Data Sheets), and emergency contact and spill reporting.

- Spill Prevention

- Process and dismantle salvage vehicles in the designated dismantling area. Some minor dismantling occurs in the vehicle storage area.

- Store fluids inside buildings or in the secondary containment structures or double-walled tanks.

- Properly label and cap all fluid storage containers and tanks.

- Properly store motors, transmissions, and other oily parts to contain fluid releases.

- Use excellent spill control during processing, dismantling, crushing, and parts storage.

- Conduct Housekeeping/Preventive Maintenance Inspections every two weeks for facility equipment.

- Spill Response

- Stop and Act! Respond to spills and leaks as soon as observed.

- Know where the Spill Kits are located and how to use the supplies.

- Contain the spills first, then clean up.

- Use proper absorbents: Oil Only absorbents (usually white socks or pads) only absorb oil and fuel. Universal absorbents (blue or gray socks or pads and granular absorbent) absorb all fluids – including water and antifreeze.

- Keep the spilled material from being discharged from BMLs. Keep out of waterways.

- Dispose of used absorbent.

- Report the spill if required (see above). Notify your supervisor.

- Remove spill stains – never wash off.

15.0	EMPLOYEE TRAINING FORM

Date of Session:

| Trainer Information |  |
| --- | --- |
| Print: | Signature: |

Training Session Information

Topics Covered:

| Attendee Name | Attendee Signature |
| --- | --- |

16.0	ANNUAL SWPPP REVIEW REPORT FORM (use MiWaters Form)

| Facility Information |  |  |
| --- | --- | --- |
| Designated Name: | Certificate of Coverage No. or Individual Permit No.: |  |
| Facility Address: | County: |  |
| Facility Contact Information |  |  |
| Name: |  | Telephone No.: |
| Email Address: |  | Certification No.: |
| Backup Facility Contact Information |  |  |
| Name: |  | Telephone No.: |
| Email Address: |  | Certification No.: |
| Industrial Storm Water Certified Operator Information |  |  |
| Name: |  | Telephone No.: |
| Email Address: |  | Certification No.: |
| Space to list additional operators if applicable: |  |  |

| The SWPPP Checklist on the DEQ, WRD Industrial Storm Water webpage should be used to review the facility’s SWPPP and before the following 10 questions are completed. |  |  |  |
| --- | --- | --- | --- |
| - Facility general information is current and accurate | Yes | No |  |
| - Site map is current and accurate | Yes | No |  |
| - Significant material inventory is current and accurate | Yes | No |  |
| - New exposures, processes and related controls have been documented appropriately in the SWPPP | Yes | No | NA |
| - Spills have been recorded and reported as appropriate | Yes | No | NA |
| - Employee SWPPP training was conducted and documented | Yes | No |  |
| - Records of routine preventative maintenance and housekeeping inspections are available in the SWPPP file | Yes | No |  |
| - Comprehensive site inspections have been completed, certified and filed in the SWPPP file | Yes | No |  |
| - Visual Assessments have been completed and the reports have been filed in the SWPPP file | Yes | No | NA |
| - Corrective actions noted in the inspection reports have been completed | Yes | No |  |
| - The SWPPP is compliant with the permit and has been reviewed and signed by the Certified Storm Water Operator and the permittee or designated representative | Yes | No |  |
| Additional Comments: |  |  |  |

| I certify that the above information is correct: |  |
| --- | --- |
| Name: | Signature / Date: |

SUBMIT THIS FORM TO THE DEQ, WRD DISTRICT OFFICE IDENTIFIED ON YOUR CERTIFICATE OF COVERAGE ON OR BEFORE JANUARY 10TH OF EACH YEAR

17.0	DEQ SPILL OR RELEASE REPORT

Section 18

INSPECTION FORMS

ROUTINE HOUSEKEEPING & PM INSPECTION FORM (2 weeks)

| Date: | Time: |
| --- | --- |

| Inspector Information |  |
| --- | --- |
| Print Name: | Signature: |

| Areas Inspected | Observation | Corrective Actions Taken (date) |
| --- | --- | --- |
| HOUSEKEEPING |  |  |
| Incoming vehicles |  |  |
| Concrete crushing pad |  |  |
| Spill prevention |  |  |
| Spill response & cleanup |  |  |
| Erosion control/vegetation |  |  |
| Vehicle processing/dismantling |  |  |
| Vehicle crushing |  |  |
| Fluid storage |  |  |
| Battery storage |  |  |
| Mercury switch removal/storage |  |  |
| Vehicle parts storage / racks |  |  |
| Debris, trash, and waste |  |  |
| Structural controls: |  |  |
| - Buildings & fencing |  |  |
| - Concrete crushing pad |  |  |
| - Crushed asphalt/gravel cover |  |  |
| - Secondary containment: Diesel fuel |  |  |
| - Secondary containment: - Gasoline |  |  |
| - Parts racks |  |  |
| - Vegetation |  |  |
| - Retention pond |  |  |
| - BML Outfalls |  |  |
| Other: |  |  |
| PREVENTIVE MAINTENANCE |  |  |
| Leaks & spills |  |  |
| Fluid levels |  |  |
| Hoses & lines |  |  |
| Equipment repairs |  |  |
| BML inspections & cleaning |  |  |
| Other: |  |  |

COMPREHENSIVE SITE INSPECTION FORM (quarterly)

| Date: | Time: |
| --- | --- |

| Certified Operator Information |  |
| --- | --- |
| Print Name: | Signature: |

Precipitation Information

Check the most appropriate box that represents the weather condition during the inspection: Dry Rain Snow Other, explain:

Compliance Certification Statement

Based on the results of this inspection the facility is in compliance with the general permit and the SWPPP: Yes No, explain:

| Areas Inspected | Observation | Corrective Actions Taken (date) |
| --- | --- | --- |
| Routine Inspection Reports |  |  |
| - Housekeeping |  |  |
| - Preventive Maintenance |  |  |
| Concrete crushing pad |  |  |
| Spill prevention & spill kits |  |  |
| Spill response & cleanup |  |  |
| Erosion control |  |  |
| Vehicle processing/dismantling |  |  |
| Battery storage |  |  |
| Mercury switches |  |  |
| Fluid storage |  |  |
| Debris, trash & waste |  |  |
| Vehicle storage area |  |  |
| Crushing operation |  |  |
| Structural controls: |  |  |
| - Buildings & fencing |  |  |
| - Concrete crushing pad |  |  |
| - Crushed asphalt/gravel cover |  |  |
| - Secondary containment - diesel |  |  |
| - Secondary containment - gas |  |  |
| - Parts racks |  |  |
| - Vegetation |  |  |
| - Retention pond |  |  |
| - BML Outfalls |  |  |
| Other: |  |  |